Spatial heatmap analysis of residence time probability

Nayem Haque

Written: September 5, 2025

Completed: October 20, 2025

Note: In order to use the SHARP analysis, please run STRAP first. This will create the correct directories and subdirectories required for SHARP to deposit files. The code will not work if the directories are not constructed appropriately.

The following Applications and Scripts within those applications are needed, as well as necessary toolboxes and packages:

- MATLAB_R2024b

  - Scripts (Install time = <10 seconds)

    - SHARP_2D.p

    - STRAP_2D_compare.p

  - Toolboxes

    - Deep learning toolbox

    - Image acquisition toolbox

    - Image processing toolbox

    - Statistics and machine learning toolbox

    - Parallel computing toolbox

Perform SHARP analysis on filtered single-particle tracking (<2 minutes per cell)

- Open MATLAB_R2024b and run SHARP_2D.p.

- Select the “Filtered_sptana.m” file that was generated after you performed STRAP.

- The script will run and take a couple minutes. It will go through each row of the sptana file, which corresponds to data for a single cell, and construct a new directory under the “Processed_imaging_data” folder called “2D_heatmap_nucleus”. This folder will contain two subdirectories and two files:

  - Hotspot_Overlays folder: Contains two files per cell:

    - XLSX file: An excel sheet containing information on the hotspot number, size of hotspot, and number of binding events within the hotspot for a single nuclei.

    - PDF file: Contains the heatmap plot showing the hotspots circled in teal for each nuclei. The second page of this PDF has a table with the same data in the excel file.

  - VisitFrequency folder: Contains a single PDF per cell.

    - The PDF has the same heatmap plot as in a.ii but it the colormap is different and the hotspots are not circled.

  - hotspot_stats.csv: A CSV file containing a list of each nuclei and their associated Pol II transcription metrics inside and outside of clusters. This file also contains global characteristics of the nuclei (Number of binding events + nuclear area), and total number of clusters detected.

  - kde_thresholds.csv: This file contains the list of kernel-density estimate (KDE) for each cell. It also computes the average KDE from this list and the standard deviation. For control conditions, the average KDE is used to set a threshold when comparing the effects of drug treatment. This is accomplished by running SHARP_2D_compare.p and selecting the kde_thresholds.csv file before selecting the ‘Filtered_sptana.mat’ file for your condition of interest.